Type I Permit- $54.00

- Bonfires

- The use of a torch or flame producing device to remove paint from, or seal membrane roofs on any building or structure

- The occasional use of any non residential occupancy other than Use Groups F, H or S for group overnight stays of persons over 2 ½ years of age, in accordance with section F-709.0 of the Fire Prevention Code

- Individual portable kiosks or displays when erected in covered mall for a period of less than 90 days and when not covered by a Type 2 permit

- The use of any open flame or flame producing device in connection with any public gathering for purposes of entertainment, amusement or recreation

- Welding and cutting operations except where the welding and cutting is performed in areas approved for welding and is registered as a type B Life Hazard use

- The possession or use of explosives or blasting agents, other than model rocketry engines regulated under NJAC 12:194

- The use of any open flame or flame producing device in connection with the training of non-fire service personnel in fire suppression or extinguishment procedures

- The occasional use in any building of a multipurpose room with a maximum permitted occupancy of 100 or more for amusement, entertainment or mercantile type purposes

- The storage or handling of class I flammable liquids in closed containers of aggregate amounts of more than 10 gallons, but not more than 660 gallons inside a building or more than 60 gallons but not more than 66o gallons outside a building.

- The storage of handling of class II or IIIA combustible liquids in closed containers of aggregate amounts of more than 25 gallons but not more than 660 gallons inside a building or more than 60 gallons, but not more than 660 gallons outside a building.

- Any permanent cooking operation that requires a suppression system in accordance with NJAC 5:70-4(g) and is not defined as a life hazard use in accordance with NJAC 5:70-2.4

- The use as a place of public assembly for a total of not more than 15 days in a calendar year of building classified as a commercial farm building under the Uniform Construction Code.

Type 2 Permit – 214.00

- Bowling lane resurfacing and bowling pin refinishing involving the use and application of flammable liquids or materials

- Fumigation or thermal insecticide fogging

- Carnivals and circuses employing mobile structure used for human occupancy

- The use of a covered mall in any of the following manners

  - Placing or constructing temporary kiosks, display booths, concession equipment or the lide in more than 25 percent of the common area of the mall

  - Temporarily using the mall as a place of assembly

  - Using open flame devices

  - Displaying liquid or gas fueled power equipment or

  - Using liquefied petroleum gas, liquefied natural gas and compressed flammable gas in containers exceeding 5 pound capacity

- Storage outside of building of LP-gas cylinders when part of a cylinder exchange program